## Demandandwind
Time(h) | MW | Bus i | % | Time(h) | MW | Time(h) | MW | Time(h) | MW | Time(h) | MW | Time(h) | MW | Time(h) | MW
1 | 15147.6848 | 1 | 0.037895 | 1 | 3330.4666 | 1 | 1815.5925 | 1 | 2043.6975 | 1 | 1598.624 | 1 | 871.4844 | 1 | 980.9748
2 | 13752.961 | 2 | 0.034035 | 2 | 3290.7332 | 2 | 1827.9225 | 2 | 1962.525 | 2 | 1579.5519 | 2 | 877.4028 | 2 | 942.012
3 | 12733.1913 | 3 | 0.063158 | 3 | 3187.305 | 3 | 1805.3175 | 3 | 1798.125 | 3 | 1529.9064 | 3 | 866.5524 | 3 | 863.1
4 | 12193.44 | 4 | 0.025965 | 4 | 2891.385 | 4 | 1810.455 | 4 | 1679.9625 | 4 | 1387.8648 | 4 | 869.0184 | 4 | 806.382
5 | 12598.254 | 5 | 0.024912 | 5 | 2363.25 | 5 | 1804.29 | 5 | 1654.275 | 5 | 1134.36 | 5 | 866.0592 | 5 | 794.052
6 | 13767.6617 | 6 | 0.047719 | 6 | 1842.3075 | 6 | 1737.5025 | 6 | 1618.3125 | 6 | 884.3076 | 6 | 834.0012 | 6 | 776.79
7 | 16825.83 | 7 | 0.04386 | 7 | 1348.7993 | 7 | 1558.7175 | 7 | 1416.9225 | 7 | 647.4236 | 7 | 748.1844 | 7 | 680.1228
8 | 18670.35 | 8 | 0.06 | 8 | 1030.5825 | 8 | 1254.5775 | 8 | 1301.8425 | 8 | 494.6796 | 8 | 602.1972 | 8 | 624.8844
9 | 22942.9651 | 9 | 0.061404 | 9 | 1078.875 | 9 | 1028.5275 | 9 | 1363.4925 | 9 | 517.86 | 9 | 493.6932 | 9 | 654.4764
10 | 23887.56 | 10 | 0.068421 | 10 | 1237.11 | 10 | 955.575 | 10 | 1381.9875 | 10 | 593.8128 | 10 | 458.676 | 10 | 663.354
11 | 24877.08 | 11 | 0 | 11 | 1384.0425 | 11 | 944.2725 | 11 | 1371.7125 | 11 | 664.3404 | 11 | 453.2508 | 11 | 658.422
12 | 22882.935 | 12 | 0 | 12 | 1438.5 | 12 | 862.0725 | 12 | 1328.5575 | 12 | 690.48 | 12 | 413.7948 | 12 | 637.7076
13 | 18354.57 | 13 | 0.092982 | 13 | 1450.83 | 13 | 734.6625 | 13 | 1312.1175 | 13 | 696.3984 | 13 | 352.638 | 13 | 629.8164
14 | 17937.501 | 14 | 0.06807 | 14 | 1368.63 | 14 | 749.0475 | 14 | 1254.5775 | 14 | 656.9424 | 14 | 359.5428 | 14 | 602.1972
15 | 16815 | 15 | 0.11123 | 15 | 1381.9875 | 15 | 893.925 | 15 | 1233 | 15 | 663.354 | 15 | 429.084 | 15 | 591.84
16 | 18392.817 | 16 | 0.035088 | 16 | 1315.2 | 16 | 1031.61 | 16 | 1130.25 | 16 | 631.296 | 16 | 495.1728 | 16 | 542.52
17 | 23707.5737 | 17 | 0 | 17 | 1267.935 | 17 | 1192.9275 | 17 | 1048.05 | 17 | 608.6088 | 17 | 572.6052 | 17 | 503.064
18 | 25461.6758 | 18 | 0.11684 | 18 | 1298.76 | 18 | 1378.905 | 18 | 1109.7 | 18 | 623.4048 | 18 | 661.8744 | 18 | 532.656
19 | 27665.5477 | 19 | 0.063509 | 19 | 1613.175 | 19 | 1593.6525 | 19 | 1150.8 | 19 | 774.324 | 19 | 764.9532 | 19 | 552.384
20 | 27215.79 | 20 | 0.044912 | 20 | 2053.9725 | 20 | 1735.4475 | 20 | 1432.335 | 20 | 985.9068 | 20 | 833.0148 | 20 | 687.5208
21 | 26451.1692 | 21 | 0 | 21 | 2106.375 | 21 | 2194.74 | 21 | 1525.8375 | 21 | 1011.06 | 21 | 1053.4752 | 21 | 732.402
22 | 23662.5968 | 22 | 0 | 22 | 2055 | 22 | 2595.465 | 22 | 1626.5325 | 22 | 986.4 | 22 | 1245.8232 | 22 | 780.7356
23 | 19434.7609 | 23 | 0 | 23 | 1952.25 | 23 | 2964.3375 | 23 | 1875.1875 | 23 | 937.08 | 23 | 1422.882 | 23 | 900.09
24 | 15431.8099 | 24 | 0 | 24 | 2055 | 24 | 3215.0475 | 24 | 2059.11 | 24 | 986.4 | 24 | 1543.2228 | 24 | 988.3728
Demand
Percentage of Demand in Bus i
Forecasted wind power in bus 1 at time t
Forecasted wind power in bus 15 at time t
Forecasted wind power in bus 21 at time t
Wind profile in penetration of 25%
Forecasted wind power in bus 1 at time t
Forecasted wind power in bus 15 at time t
Forecasted wind power in bus 21 at time t
Wind profile in penetration of 12%

## Network
All Lines | from bus | to bus | X [pu] | Fmax(MW)
1 | 1 | 2 | 0.0139 | 1750
2 | 1 | 3 | 0.2112 | 1750
3 | 1 | 5 | 0.0845 | 1750
4 | 2 | 4 | 0.1267 | 1750
5 | 2 | 6 | 0.192 | 1750
6 | 3 | 9 | 0.119 | 1750
7 | 3 | 24 | 0.0839 | 4000
8 | 4 | 9 | 0.1037 | 1750
9 | 5 | 10 | 0.0883 | 1750
10 | 6 | 10 | 0.0605 | 1750
11 | 7 | 8 | 0.0614 | 1750
12 | 8 | 9 | 0.1651 | 1750
13 | 8 | 10 | 0.1651 | 1750
14 | 9 | 11 | 0.0839 | 4000
15 | 9 | 12 | 0.0839 | 4000
16 | 10 | 11 | 0.0839 | 4000
17 | 10 | 12 | 0.0839 | 4000
18 | 11 | 13 | 0.0476 | 5000
19 | 11 | 14 | 0.0418 | 5000
20 | 12 | 13 | 0.0476 | 5000
21 | 12 | 23 | 0.0966 | 5000
22 | 13 | 23 | 0.0865 | 5000
23 | 14 | 16 | 0.0389 | 5000
24 | 15 | 16 | 0.0173 | 5000
25 | 15 | 21 | 0.0245 | 10000
26 | 15 | 24 | 0.0519 | 5000
27 | 16 | 17 | 0.0259 | 5000
28 | 16 | 19 | 0.0231 | 5000
29 | 17 | 18 | 0.0144 | 5000
30 | 17 | 22 | 0.1053 | 5000
31 | 18 | 21 | 0.01295 | 10000
32 | 19 | 20 | 0.0198 | 10000
33 | 20 | 23 | 0.0108 | 10000
34 | 21 | 22 | 0.0678 | 5000
Network information

## A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
8 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | -1 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0
34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0

## Clusters
[14 empty] | [$/MWh] | [8 empty] | [MW]
|  |  | (MW) | (MW) | (h) | (h) | (h) | (MW) | (MW) | (MW) | (MW) | Piecewise linear cost coefficient of segment S |  |  |  |  | ($) | ($) | [$/h] |  |  | Maximum power of segment S
clusters | Bus | Number-of-units | Capacity | Pmin | Initial state | Minimum-up-time | Minimum-down-time | Ramp-up | Ramp-down | SU-Cap | SD-Cap | s=1 | s=2 | s=3 | s=4 | s=5 | Start-up-cost | Shut-down-cost | Fixed cost | Cost-of-providing-up/down-reserve | s=1 | s=2 | s=3 | s=4 | s=5
c1 | 23 | 20 | 155 | 60 | 8 | 8 | 8 | 25 | 25 | 60 | 60 | 13.8797 | 14.169 | 14.4583 | 14.7476 | 15.0368 | 360 | 0 | 881.333 | 8.4632 | 79 | 98 | 117 | 136 | 155
c2 | 15 | 10 | 155 | 70 | 10 | 10 | 10 | 24 | 24 | 70 | 70 | 13.1301 | 13.5342 | 13.9383 | 14.3425 | 14.7466 | 360 | 0 | 932.3534 | 8.5632 | 87 | 104 | 121 | 138 | 155
c3 | 16 | 10 | 155 | 50 | 9 | 9 | 9 | 26 | 26 | 50 | 50 | 14.2095 | 14.3747 | 14.54 | 14.7052 | 14.8704 | 360 | 0 | 784.142 | 8.7632 | 71 | 92 | 113 | 134 | 155
c4 | 23 | 10 | 350 | 100 | 20 | 20 | 48 | 37 | 37 | 110 | 110 | 12.0805 | 12.2905 | 12.5005 | 12.7105 | 12.9205 | 1684 | 0 | 1322.34 | 14.579 | 150 | 200 | 250 | 300 | 350
c5 | 1 | 20 | 20 | 5 | -1 | 1 | 1 | 8 | 8 | 12 | 12 | 24.8756 | 25.2936 | 25.7116 | 26.1296 | 26.5475 | 40 | 0 | 327.3516 | 20.576 | 8 | 11 | 14 | 17 | 20
c6 | 2 | 20 | 20 | 5 | -1 | 1 | 1 | 8 | 8 | 12 | 12 | 24.6776 | 25.2096 | 25.7416 | 26.2736 | 26.8055 | 40 | 0 | 315.6016 | 19.576 | 8 | 11 | 14 | 17 | 20
c7 | 13 | 30 | 197 | 70 | 12 | 12 | 10 | 30 | 30 | 70 | 70 | 21.9693 | 22.1258 | 22.2823 | 22.4387 | 22.5952 | 1020 | 0 | 1632.635 | 11.535 | 95.4 | 120.8 | 146.2 | 171.6 | 197
c8 | 1 | 20 | 76 | 30 | 4 | 4 | 4 | 20 | 20 | 35 | 35 | 19.4859 | 19.6117 | 19.7376 | 19.8635 | 19.9894 | 834 | 0 | 739.3296 | 16.28 | 39.2 | 48.4 | 57.6 | 66.8 | 76
c9 | 2 | 20 | 76 | 30 | 5 | 5 | 5 | 20 | 20 | 35 | 35 | 19.1559 | 19.2817 | 19.4076 | 19.5335 | 19.6594 | 834 | 0 | 733.4296 | 16.68 | 39.2 | 48.4 | 57.6 | 66.8 | 76
c10 | 7 | 30 | 100 | 40 | 8 | 8 | 8 | 60 | 60 | 40 | 40 | 19.6906 | 19.9729 | 20.2551 | 20.5373 | 20.8196 | 400 | 0 | 953.907 | 19.0743 | 52 | 64 | 76 | 88 | 100
c11 | 15 | 30 | 20 | 5 | -1 | 1 | 1 | 7 | 7 | 11 | 11 | 24.3196 | 24.8308 | 25.342 | 25.8532 | 26.3644 | 40 | 0 | 327.95 | 20.976 | 8 | 11 | 14 | 17 | 20
c12 | 18 | 10 | 350 | 120 | 24 | 24 | 48 | 35 | 35 | 120 | 120 | 10.2522 | 10.8132 | 11.3741 | 11.935 | 12.4959 | 1684 | 0 | 1257.607 | 14.879 | 166 | 212 | 258 | 304 | 350
c13 | 21 | 10 | 350 | 140 | 24 | 24 | 48 | 33 | 33 | 140 | 140 | 9.5249 | 10.1476 | 10.7703 | 11.393 | 12.0157 | 1684 | 0 | 1305.391 | 16.079 | 182 | 224 | 266 | 308 | 350
c14 | 22 | 30 | 20 | 6 | -1 | 1 | 1 | 6 | 6 | 12 | 12 | 24.9896 | 25.1279 | 25.2662 | 25.4045 | 25.5428 | 40 | 0 | 339.3932 | 19.076 | 8.8 | 11.6 | 14.4 | 17.2 | 20
c15 | 22 | 10 | 100 | 40 | 7 | 7 | 7 | 65 | 65 | 45 | 45 | 20.379 | 20.5941 | 20.8091 | 21.0241 | 21.2392 | 400 | 0 | 947.267 | 15.0743 | 52 | 64 | 76 | 88 | 100
c16 | 18 | 30 | 20 | 5 | -1 | 1 | 1 | 9 | 9 | 12 | 12 | 25.5271 | 25.7593 | 25.9915 | 26.2237 | 26.4559 | 40 | 0 | 322.8475 | 19.676 | 8 | 11 | 14 | 17 | 20
c17 | 21 | 20 | 20 | 5 | -1 | 1 | 1 | 9 | 9 | 12 | 12 | 25.0644 | 25.3932 | 25.722 | 26.0508 | 26.3796 | 40 | 0 | 326.89 | 20.376 | 8 | 11 | 14 | 17 | 20
c18 | 17 | 10 | 100 | 40 | 8 | 8 | 8 | 55 | 55 | 40 | 40 | 20.081 | 20.249 | 20.417 | 20.585 | 20.753 | 400 | 0 | 974.423 | 18.5743 | 52 | 64 | 76 | 88 | 100
c19 | 14 | 20 | 20 | 5 | -1 | 1 | 1 | 10 | 10 | 12 | 12 | 24.9554 | 25.2302 | 25.505 | 25.7798 | 26.0546 | 40 | 0 | 315.905 | 19.296 | 8 | 11 | 14 | 17 | 20
Technical information of units within the cluster